VISVESVARAYA TECHNOLOGICAL UNIVERSITY

BELAGAVI-590018, KARNATAKA

MINI PROJECT REPORT

ON

“ECG monitoring system”

Submitted by

Name:Mithun ,Harish,Gurutejas

USN: 1CR24EC117,1CR24EC077,1CR24EC076

Under the guidance of

Name: Dr.Madhu GC

signation: Asst. Professor

Department Of Electronics and Communication Engineering

January-March2026

Department Of Electronics and Communication Engineering

CMR INSTITUTE OF TECHNOLOGY

#132, AECS LAYOUT, IT PARK ROAD, KUNDALAHALLI,

BENGALURU-560037

NAME OF THE INSTITUTION: CMR Institute of Technology Address with pin code

Department of Electronics and Communication Engineering

CERTIFICATE

Certified that the mini project work entitled ECG Monitoring system out by Mr.Mithun Mr.Harish and Mr.Gurutejas USN-1CR24EC117,USN-1CR24EC077 and USN-1CR24EC076 andbonafide students of CMR Institute of Technology in partial fulfillment for the award of Bachelor of Engineering / Bachelor of Technology in Electronics and Communication Engineering of the Visveswaraiah Technological University, Belgaum during the year 2025-26. It is certified that all corrections/suggestions indicated for Internal Assessment have been incorporated in the Report.

The mini project report has been approved as it satisfies the academic requirements in respect of Project work prescribed for the said Degree.

Name & Signature of the Guide	Name Signature of the HOD

Acknowledgement

The satisfaction that accompanies the successful completion of any task would be incomplete without mentioning the people whose proper guidance and encouragement has served as a beacon and crowned my efforts with success. We take an opportunity to thank all the distinguished personalities for their enormous and precious support and encouragement throughout the duration of this seminar.

We take this opportunity to express our sincere gratitude and respect to CMR Institute of Technology, Bengaluru for providing us an opportunity to present my mini project.

We have a great pleasure in expressing my deep sense of gratitude to Dr. Sanjay Jain, Principal, CMRIT, Bangalore, for his constant encouragement.

We would like to thank Dr. Pappa M, HoD, Department of Electronics and Communication Engineering, CMRIT, Bangalore, who shared her opinion and experience through which we received the required information crucial for the mini project.

We consider it a privilege and honor to express my sincere gratitude to my guide Ms Dr.Madhu GC Professor and co-ordinator Dr. Ruma Debnath Assistant/Associate Professor, Department of Electronics and Communication Engineering, for the valuable guidance throughout the tenure of this review.

We also extend our thanks to the faculties of Electronics and Communication Engineering Department who directly or indirectly encouraged me.

Finally, We would like to thank my parents and friends for all their moral support they have given me during the completion of this work.

Name:Mithun sk

Harish Navi

Gurutejas SH

Usn:1CR24EC117

1CR24EC077

1CR24EC076

ECG monitoring system

A Mini Project Report

Submitted in partial fulfilment of the requirements for the degree of Bachelor of Engineering

Department of Electronics and Communication Engineering (ECE) CMR Institute of Technology, VTU – 2025

Submitted by

Mithun SK-1CR24EC117

Harish Navi-1CR24EC077

Gurutejas SH-1CR24EC076

Guide: prof. Dr.Madgu GC

Head of the Department: Ms. Pappa M

ABSTRACT

An Electrocardiogram (ECG) Monitoring System is a biomedical device designed to measure and monitor the electrical activity of the heart in real time. The primary objective of this project is to develop a low-cost, portable, and efficient system capable of acquiring, processing, and displaying ECG signals for continuous cardiac health monitoring. The system utilizes ECG electrodes and an AD8232 sensor module to capture weak bioelectrical signals generated by the heart. These signals are amplified, filtered, and processed using a microcontroller such as Arduino or ESP32 to obtain accurate heart rate measurements and ECG waveforms.

The processed data is displayed on an LCD/OLED screen and can be transmitted wirelessly to a mobile application or cloud platform for remote monitoring. The system enables early detection of irregular heart rhythms and supports preventive healthcare by providing continuous cardiac observation. Experimental results demonstrate that the proposed system successfully acquires ECG signals, calculates heart rate accurately, and provides real-time monitoring with reliable performance. The project offers a practical and economical solution for healthcare applications and can be further enhanced through IoT integration, cloud-based data storage, and artificial intelligence techniques for advanced cardiac analysis and arrhythmia detection.

Keywords: ECG Monitoring System, Heart Rate Monitoring, AD8232 Sensor, Arduino, ESP32, Biomedical Instrumentation, IoT Healthcare, Remote Patient Monitoring, Cardiac Signal Processing.

CONTENTS

| Sl.No | Chapter |
| --- | --- |
| 1 | Introduction |
| 2 | Components used |
| 3 | System Design and Architecture |
| 4 | Implementation |
| 5 | Results and Discussion |
| 6 | Conclusion and Future Enhancement |

CHAPTER 1: INTRODUCTION

Introduction

An Electrocardiogram (ECG) Monitoring System is a biomedical device used to measure and record the electrical activity of the heart. The system helps detect heart rate, rhythm abnormalities, and various cardiac conditions. With the integration of sensors, microcontrollers, and wireless communication technologies, modern ECG monitoring systems provide real-time health monitoring and remote patient care.

  - Problem Statement

Cardiovascular diseases are among the leading causes of death worldwide, and timely detection of heart abnormalities is essential for effective treatment. Traditional ECG monitoring systems are often expensive, bulky, and limited to hospitals or diagnostic centers, making continuous monitoring difficult for patients outside clinical environments. There is a need for a portable, low-cost, and real-time ECG monitoring system that can continuously acquire, process, and display heart signals while enabling remote monitoring. The proposed ECG Monitoring System aims to provide an efficient solution for tracking cardiac activity, detecting irregular heart rhythms, and improving access to preventive healthcare through embedded and IoT-based technologies.

Objectives

- To acquire ECG signals from the human body.

- To process and display heart activity in real time.

- To monitor heart rate and detect abnormalities.

- To provide a low-cost and portable healthcare solution.

CHAPTER 2: Components used

·  ECG Sensor Module (e.g., AD8232)

·  Microcontroller (Arduino Uno, ESP32, or Raspberry Pi)

·  Electrodes

·  LCD/OLED Display

·  Power Supply

·  Bluetooth/Wi-Fi Module (optional)

·  Computer or Mobile Application for visualization

CHAPTER 3: SYSTEM DESIGN AND ARCHITECTURE

1. System Design

The ECG Monitoring System is designed to acquire the heart's electrical signals, process them using a microcontroller, and display or transmit the results for monitoring purposes. The system consists of signal acquisition, signal conditioning, processing, visualization, and communication modules.

Main Modules

A. Signal Acquisition Module

- Uses ECG electrodes placed on the patient's body.

- Captures weak electrical signals generated by heart activity.

- Transfers signals to the ECG sensor module.

B. Signal Conditioning Module

- ECG sensor (e.g., AD8232) amplifies the low-amplitude ECG signals.

- Removes noise and unwanted frequencies using filters.

- Produces a clean analog ECG signal.

C. Processing Module

- Microcontroller (Arduino Uno/ESP32) receives the conditioned signal.

- Converts analog signals into digital data using ADC.

- Calculates heart rate and processes waveform data.

D. Display Module

- LCD/OLED screen displays:

  - ECG waveform

  - Heart rate (BPM)

  - System status

E. Communication Module (Optional)

- Wi-Fi or Bluetooth transmits ECG data to:

  - Mobile application

  - Computer dashboard

  - Cloud server

F. Alert Module (Optional)

- Generates alerts when abnormal heart rate patterns are detected.

- Sends notifications to caregivers or doctors.

- Block Diagram

  - ECG Electrodes

  - │

  - ▼

  - ECG Sensor Module

  - (AD8232)

  - │

  - ▼

  - Microcontroller

  - (Arduino/ESP32)

  - │

  - ┌─────────┴─────────┐

  - ▼                   ▼

  - LCD/OLED Display   Wi-Fi/Bluetooth

  - │                   │

  - ▼                   ▼

  - Heart Rate &      Mobile App /

  - ECG Waveform      Cloud Server

  - │

  - ▼

  - Doctor / User

3. Architecture Description Input Layer

- ECG electrodes collect bioelectric signals from the body.

- The AD8232 sensor amplifies and filters these signals.

Processing Layer

- The microcontroller samples the ECG signal.

- Heart rate is calculated from R-R intervals.

- Signal processing algorithms remove remaining noise.

Output Layer

- ECG waveform is displayed locally.

- BPM value is shown on the display.

- Data can be transmitted to external devices.

Monitoring Layer

- Users and healthcare professionals monitor ECG data remotely.

- Historical data can be stored for analysis.

Data Flow

Heart Activity

│

▼

Electrodes

│

▼

ECG Sensor

│

▼

Microcontroller

│

┌────┴────┐

▼                        ▼

Display            Wireless

│                      │

▼                     ▼

User          Mobile App/Cloud

Working Principle

- Electrodes placed on the patient's body capture weak electrical signals generated by the heart.

- The ECG sensor amplifies and filters these signals.

- The microcontroller reads the processed analog signal.

- The signal is converted into digital data and analyzed.

- Heart rate and ECG waveform are displayed on a screen or transmitted wirelessly to a monitoring device.

- Alerts can be generated if abnormal heart rhythms are detected.

CHAPTER 4: IMPLEMENTATION

Implementation of ECG Monitoring System

1. Hardware Implementation

The ECG Monitoring System is implemented using an ECG sensor module, a microcontroller, display      unit, and communication module. ECG electrodes are attached to the patient's body to collect the electrical activity of the heart.

Hardware Components

- ECG Sensor Module (AD8232)

- Arduino Uno / ESP32 Microcontroller

- ECG Electrodes

- LCD/OLED Display

- Bluetooth/Wi-Fi Module (optional)

- Power Supply

2. Software Implementation

The software is developed using the Arduino IDE. The microcontroller continuously reads ECG sensor data through its Analog-to-Digital Converter (ADC), processes the signal, and displays the results.

Algorithm

- Start the system.

- Initialize sensor and display modules.

- Read ECG signal from the sensor.

- Convert analog signal into digital values.

- Filter noise and detect peaks.

- Calculate heart rate (BPM).

- Display ECG waveform and BPM.

- Transmit data through Bluetooth/Wi-Fi (if enabled).

- Repeat continuously.

Implementation Outcome

The implemented ECG Monitoring System successfully captures heart signals, processes them in real time, calculates heart rate, and displays the ECG waveform. The system provides a low-cost and portable solution for continuous cardiac monitoring and can be enhanced with IoT and AI technologies for advanced healthcare applications.

CHAPTER 5: RESULTS AND DISCUSSION

Results

The ECG Monitoring System was successfully developed and tested for real-time acquisition and monitoring of cardiac signals. ECG signals were collected through electrodes, processed using the ECG sensor and microcontroller, and displayed on the monitoring interface.

Observed Results

- The system successfully captured ECG signals from the user.

- Clear ECG waveforms corresponding to heart activity were obtained.

- Heart rate was calculated accurately in Beats Per Minute (BPM).

- Real-time monitoring and display of ECG data were achieved.

- Wireless transmission of ECG data (if implemented) was successful.

- The system operated continuously with stable performance.

Sample Output

| Parameter | Observed Value |
| --- | --- |
| Heart Rate | 72 BPM |
| Signal Quality | Good |
| Response Time | Real-Time |
| Data Transmission | Successful |
| System Status | Normal |

Discussion

The developed ECG Monitoring System demonstrated the capability to monitor cardiac activity effectively in real time. The AD8232 sensor successfully amplified and filtered the weak bioelectrical signals generated by the heart, enabling accurate signal acquisition. The microcontroller processed the incoming data and calculated the heart rate with satisfactory accuracy.

The ECG waveform displayed the characteristic P-wave, QRS complex, and T-wave patterns, indicating proper signal acquisition and processing. Minor noise was observed during body movement and improper electrode placement; however, filtering techniques reduced most of the interference and improved signal quality.

The system proved to be portable, cost-effective, and suitable for continuous health monitoring applications. The integration of wireless communication enhanced usability by enabling remote monitoring and data sharing with healthcare professionals. Compared to traditional hospital-based ECG systems, the proposed system offers greater accessibility and convenience for patients requiring regular cardiac observation

Key Findings

- Accurate heart rate measurement was achieved.

- Real-time ECG waveform visualization was successful.

- Signal quality depended on correct electrode placement.

- Motion artifacts and external electrical noise were the primary sources of interference.

- Wireless connectivity improved remote healthcare capabilities.

Challenges Encountered

- Noise introduced by body movement.

- Variations in signal quality due to electrode positioning.

- Limited processing capability of low-cost microcontrollers for advanced ECG analysis.

Overall Discussion

The results indicate that the ECG Monitoring System meets its objective of providing continuous and real-time cardiac monitoring. The system is reliable for educational, research, and basic healthcare applications. Further improvements such as cloud integration, advanced signal processing, and AI-based arrhythmia detection can enhance its accuracy and functionality, making it more suitable for practical healthcare environments.

CHAPTER 6: CONCLUSION AND FUTURE ENHANCEMENT

Conclusion

The ECG Monitoring System is an effective biomedical project that demonstrates the application of sensors, signal processing, and embedded systems in healthcare. It offers a reliable and economical solution for real-time heart monitoring and can be extended with IoT, cloud storage, and machine learning techniques for advanced cardiac analysis.

Future Enhancements

- Integration with IoT cloud platforms.

- AI-based arrhythmia detection.

- Mobile application for remote monitoring.

- Data logging and patient history management.

- Automatic emergency alert system for critical conditions.

Overall Project Review

This project is highly relevant in the healthcare domain and provides practical exposure to biomedical instrumentation, embedded systems, and IoT technologies. It is suitable for diploma, undergraduate, and mini-project demonstrations because it combines hardware implementation with real-world medical applications while maintaining moderate complexity and cost.

REFERENCES

Datasheets and Technical Documentation

- Analog Devices AD8232 Datasheet

- Arduino Documentation

- ESP32 Documentation by Espressif

Online Resources

·  World Health Organization (WHO) – Cardiovascular Diseases Information

·  National Heart, Lung, and Blood Institute (NHLBI) – Electrocardiogram Overview

·  Arduino Official Website

·  Analog Devices Official Website